Français

ontario regulation 373/15

made under the

Safe Drinking Water Act, 2002

Made: November 25, 2015
Filed: December 1, 2015
Published on e-Laws: December 2, 2015
Printed in The Ontario Gazette: December 19, 2015

Amending O. Reg. 169/03

(ONTARIO DRINKING WATER QUALITY STANDARDS)

1.  (1)  Schedule 2 to Ontario Regulation 169/03 is revoked and the following substituted:

Schedule 2
CHEMICAL STANDARDS

| Item | Chemical Parameter | Standard (expressed as a maximum concentration in milligrams per litre) |
| --- | --- | --- |
| 1. | Alachlor | 0.005 |
| 2. | Antimony | 0.006 |
| 3. | Arsenic | 0.025 |
| 4. | Atrazine + N-dealkylated metabolites | 0.005 |
| 5. | Azinphos-methyl | 0.02 |
| 6. | Barium | 1.0 |
| 7. | Benzene | 0.005 |
| 8. | Benzo(a)pyrene | 0.00001 |
| 9. | Boron | 5.0 |
| 10. | Bromate | 0.01 |
| 11. | Bromoxynil | 0.005 |
| 12. | Cadmium | 0.005 |
| 13. | Carbaryl | 0.09 |
| 14. | Carbofuran | 0.09 |
| 15. | Carbon Tetrachloride | 0.005 |
| 16. | Chloramines | 3.0 |
| 17. | Chlorpyrifos | 0.09 |
| 18. | Chromium | 0.05 |
| 19. | Cyanide | 0.2 |
| 20. | Diazinon | 0.02 |
| 21. | Dicamba | 0.12 |
| 22. | 1,2-Dichlorobenzene | 0.2 |
| 23. | 1,4-Dichlorobenzene | 0.005 |
| 24. | 1,2-Dichloroethane | 0.005 |
| 25. | 1,1-Dichloroethylene (vinylidene chloride) | 0.014 |
| 26. | Dichloromethane | 0.05 |
| 27. | 2,4-Dichlorophenol | 0.9 |
| 28. | 2,4-Dichlorophenoxy acetic acid (2,4-D) | 0.1 |
| 29. | Diclofop-methyl | 0.009 |
| 30. | Dimethoate | 0.02 |
| 31. | Dioxin and Furan | 0.000000015 a |
| 32. | Diquat | 0.07 |
| 33. | Diuron | 0.15 |
| 34. | Fluoride | 1.5 |
| 35. | Glyphosate | 0.28 |
| 36. | Lead | 0.010 |
| 37. | Malathion | 0.19 |
| 38. | Mercury | 0.001 |
| 39. | Metolachlor | 0.05 |
| 40. | Metribuzin | 0.08 |
| 41. | Microcystin LR | 0.0015 |
| 42. | Monochlorobenzene | 0.08 |
| 43. | Nitrate (as nitrogen) | 10.0 |
| 44. | Nitrite (as nitrogen) | 1.0 |
| 45. | Nitrate + Nitrite (as nitrogen) | 10.0 |
| 46. | Nitrilotriacetic Acid (NTA) | 0.4 |
| 47. | N-Nitrosodimethylamine (NDMA) | 0.000009 |
| 48. | Paraquat | 0.01 |
| 49. | Pentachlorophenol | 0.06 |
| 50. | Phorate | 0.002 |
| 51. | Picloram | 0.19 |
| 52. | Polychlorinated Biphenyls (PCB) | 0.003 |
| 53. | Prometryne | 0.001 |
| 54. | Selenium | 0.01 |
| 55. | Simazine | 0.01 |
| 56. | Terbufos | 0.001 |
| 57. | Tetrachloroethylene (perchloroethylene) | 0.03 |
| 58. | 2,3,4,6-Tetrachlorophenol | 0.1 |
| 59. | Triallate | 0.23 |
| 60. | Trichloroethylene | 0.005 |
| 61. | 2,4,6-Trichlorophenol | 0.005 |
| 62. | Trifluralin | 0.045 |
| 63. | Trihalomethanes | 0.100 b |
| 64. | Uranium | 0.02 |
| 65. | Vinyl Chloride | 0.002 |

Footnotes:

a		Total toxic equivalents when compared with 2,3,7,8-TCDD (tetrachlorodibenzo-p-dioxin).

b		This standard is expressed as a running annual average of quarterly results.

(2)  Item 3 of Schedule 2 to the Regulation, as remade by subsection (1), is amended by striking out “0.025” in Column 3 and substituting “0.01”.

(3)  Item 7 of Schedule 2 to the Regulation, as remade by subsection (1), is amended by striking out “0.005” in Column 3 and substituting “0.001”.

(4)  Item 15 of Schedule 2 to the Regulation, as remade by subsection (1), is amended by striking out “0.005” in Column 3 and substituting “0.002”.

(5)  Schedule 2 to the Regulation, as remade by subsection (1), is amended by adding the following items:

| 16.1 | Chlorate | 1.0 |
| --- | --- | --- |
| 16.2 | Chlorite | 1.0 |

(6)  Schedule 2 to the Regulation, as remade by subsection (1), is amended by adding the following item:

| 35.1 | Haloacetic acids | 0.08 b |
| --- | --- | --- |

(7)  Schedule 2 to the Regulation, as remade by subsection (1), is amended by adding the following item:

| 38.1 | 2-Methyl-4-chlorophenoxyacetic acid | 0.1 |
| --- | --- | --- |

(8)  Item 65 of Schedule 2 to the Regulation, as remade by subsection (1), is amended by striking out “0.002” in Column 3 and substituting “0.001”.

Commencement

2.  (1)  Subject to subsections (2), (3), (4) and (5), this Regulation comes into force on the day it is filed.

(2)  Subsection 1 (1) comes into force on the later of January 1, 2016 and the day this Regulation is filed.

(3)  Subsections 1 (3), (4), (5), (7) and (8) come into force on the later of January 1, 2017 and the day this Regulation is filed.

(4)  Subsection 1 (2) comes into force on the later of January 1, 2018 and the day this Regulation is filed.

(5)  Subsection 1 (6) comes into force on the later of January 1, 2020 and the day this Regulation is filed.

Français

Back to top