ontario regulation 307/17

made under the

Environmental Protection Act

Made: July 26, 2017
Filed: July 28, 2017
Published on e-Laws: July 31, 2017
Printed in The Ontario Gazette: August 12, 2017

Amending O. Reg. 562/94

(EFFLUENT MONITORING AND EFFLUENT LIMITS - METAL CASTING SECTOR)

1.  (1)  The definition of “assessment parameter” in subsection 1 (1) of Ontario Regulation 562/94 is revoked and the following substituted:

“assessment parameter”, in relation to a plant, means a parameter that is listed in the Table for the plant in Schedule 3;

(2)  The definition of “limited parameter” in subsection 1 (1) of the Regulation is amended by adding “the Table for the plant in” before “Schedule 2”.

2.  Subsections 15 (1) and (2) of the Regulation are amended by adding “the Table for the plant in” before “Schedule 2” wherever it appears.

3.  Subsection 18 (1) of the Regulation is amended by adding “the table in” before “Schedule 2”.

4.  Subsection 19 (1) of the Regulation is amended by adding “the table in” before “Schedule 2”.

5.  Subsection 21 (1) of the Regulation is amended by adding “the table in” before “Schedule 2”.

6.  Subsection 26 (1) of the Regulation is amended by adding “the table in” before “Schedule 3”.

7.  Schedules 2 and 3 to the Regulation are revoked and the following substituted:

Schedule 2
Process Effluent Limits and Monitoring Frequency

TABLE 1
Ford Motor Company of Canada, Limited Windsor Casting Plant Windsor

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily Plant Loading Limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 2 | Total Cyanide | Weekly | 25.0 | Not applicable |
| 2. | 5a | Dissolved Organic Carbon (DOC) | Daily | 884 | 317 |
| 3. | 8 | Total Suspended Solids (TSS) | Daily | 3220 | 847 |
| 4. | 9 | Aluminum | Weekly | 530 | 107 |
| 5. | 9 | Zinc | Weekly | 137 | 29.7 |
| 6. | 14 | Phenolics (4AAP) | Daily | 34.4 | 7.34 |

TABLE 2
HALEY INDUSTRIES LTD., HALEY

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency | Column 3 Daily Plant Loading Limit in kilograms per day | Column 4 Monthly Average Plant Loading Limit in kilograms per day |
| --- | --- | --- | --- | --- | --- |
| 1. | 1a | Biochemical Oxygen Demand | Weekly | 8.85 | 3.60 |
| 2. | 2 | Total Cyanide | Weekly | 1.00 | 0.393 |
| 3. | 4a | Ammonia plus Ammonium | Weekly | 13.1 | 7.22 |
| 4. | 6 | Total Phosphorus | Weekly | 0.844 | 0.309 |
| 5. | 8 | Total Suspended Solids (TSS) | Daily | 17.8 | 3.60 |
| 6. | 9 | Aluminum | Weekly | 1.69 | 0.360 |
| 7. | 9 | Chromium | Weekly | 0.650 | 0.144 |
| 8. | 9 | Copper | Weekly | 0.534 | 0.144 |
| 9. | 9 | Silver | Weekly | 0.286 | 0.106 |
| 10. | 9 | Zinc | Weekly | 0.749 | 0.144 |
| 11. | 14 | Phenolics (4AAP) | Daily | 0.0433 | 0.00703 |

Schedule 3
Cooling Water Assessment Monitoring Requirements

TABLE 1
Canada Alloy Casting Ltd., Kitchener

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency |
| --- | --- | --- | --- |
| 1. | 5a | Dissolved Organic Carbon (DOC) | Weekly |
| 2. | 8 | Total Suspended Solids (TSS) | Weekly |

TABLE 2
CHRYSLER, ETOBICOKE CASTING PLANT, TORONTO

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency |
| --- | --- | --- | --- |
| 1. | 5a | Dissolved Organic Carbon (DOC) | Weekly |
| 2. | 8 | Total Suspended Solids (TSS) | Weekly |
| 3. | 30 | Fluoride | Weekly |

TABLE 3
Kubota Metal Corporation, Fahramet Division, Orillia

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency |
| --- | --- | --- | --- |
| 1. | 5a | Dissolved Organic Carbon (DOC) | Weekly |
| 2. | 8 | Total Suspended Solids (TSS) | Weekly |
| 3. | 14 | Phenolics (4AAP) | Weekly |

TABLE 4
Western Foundry Company Limited, Wingham

| Item | Analytical Test Group | Column 1 Parameter | Column 2 Monitoring Frequency |
| --- | --- | --- | --- |
| 1. | 5a | Dissolved Organic Carbon (DOC) | Weekly |
| 2. | 8 | Total Suspended Solids (TSS) | Weekly |
| 3. | 14 | Phenolics (4AAP) | Weekly |
| 4. | 30 | Fluoride | Weekly |

Commencement

8.  This Regulation comes into force on the day it is filed.

Back to top