Trades Qualification and Apprenticeship Act
Loi sur la qualification professionnelle et l’apprentissage des gens de métier

R.R.O. 1990, REGULATION 1073

PLUMBER

Historical version for the period January 23, 2002 to December 17, 2012.

Last amendment:  O. Reg. 7/02.

This Regulation is made in English only.

1.  In this Regulation,

“certified trade” means the trade of plumber;

“plumber” means a person who,

(a)	lays out, assembles, installs, maintains or repairs in any structure, building or site, piping, fixtures and appurtenances for the supply of water for any domestic or industrial purpose or for the disposal of water that has been used for any domestic or industrial purpose,

(b)	connects to piping any appliance that uses water supplied to it or disposes of waste,

(c)	installs the piping for any process, including the conveyance of gas, or any tubing for a pneumatic or air-handling system,

(d)	makes joints in piping, or

(e)	reads and understands design drawings, manufacturers’ literature and installation diagrams for piping and appliances connected thereto,

but does not include a person engaged in,

(f)	the manufacture of equipment or the assembly of a unit prior to delivery to a building, structure or site,

(g)	the laying of metallic or non-metallic pipe into trenches to form sanitary or storm sewers, drains or water mains,

(h)	the repair and maintenance of the installations in an operating industrial plant, or

(i)	the installation, removal, maintenance and testing of water meters, up to and including water meters with a 25 millimetre inlet and outlet.  R.R.O. 1990, Reg. 1073, s. 1; O. Reg. 7/02, s. 1.

2.  The trade of plumber is designated as a certified trade for the purposes of the Act.  R.R.O. 1990, Reg. 1073, s. 2.

3.  An apprentice training program is established for the certified trade and shall consist of five periods of related training and work experience training of 1,800 hours for each period,

(a)	at full-time educational day classes provided at a College of Applied Arts and Technology or in courses that, in the opinion of the Director, are equivalent thereto, in the subjects contained in Schedule 1; and

(b)	in work experience training provided by the employer of the apprentice in the subjects contained in Schedule 2.  R.R.O. 1990, Reg. 1073, s. 3.

4.  The subjects of examination for an apprentice in the certified trade are the subjects contained in Schedules 1 and 2.  R.R.O. 1990, Reg. 1073, s. 4.

5.  A person is exempt from subsection 10 (2) of the Act if he or she,

(a)	applies in the prescribed form for apprenticeship in the certified trade; and

(b)	works in that trade for three months or less.  R.R.O. 1990, Reg. 1073, s. 5.

6.  The rate of wages for an apprentice in the certified trade whether for regular daily hours or for hours in excess of regular daily hours shall not be less than,

(a)	40 per cent during the first period of training and instruction;

(b)	50 per cent during the second period of training and instruction;

(c)	60 per cent during the third period of training and instruction;

(d)	70 per cent during the fourth period of training and instruction; and

(e)	80 per cent during the fifth period of training and instruction,

of the hourly rate of wages or its equivalent for a journeyperson employed by the same employer in the certified trade and with whom the apprentice is working.  R.R.O. 1990, Reg. 1073, s. 6.

7.  The number of apprentices who may be employed by an employer in the certified trade shall not exceed,

(a)	where the employer is a journeyperson in the trade, one apprentice plus an additional apprentice for every three journeypersons employed by the employer in the trade and with whom the apprentice is working; and

(b)	where the employer is not a journeyperson in the trade, one apprentice for the first journeyperson employed by the employer plus an additional apprentice for each additional three journeypersons employed by the employer in the trade and with whom the apprentice is working. R.R.O. 1990, Reg. 1073, s. 7.

Schedule 1
PLUMBER

In-School Training

| Item | Column 1 | Column 2 | Column 3 |
| --- | --- | --- | --- |
|  | Course | Subject | Instruction to be Given |
| 1 | Mathematics (Trade Related) | Mathematics | Addition, subtraction, multiplication, division of whole numbers, fractions, decimals. Weights and measures. Ratio and proportion. Percentage, discounts, simple interest. Areas, volumes, linear and angular mensuration. Square root. Scale conversion. Simple equations and formulae calculations (tanks, pipes; capacities, rate of flow). |
| 2 | Science | Physics | Hydrostatics, hydraulics; pressure and head differences. Pascal’s Law. Pump capacities (H. P. rating and flow). Pressure pump principles; venturi, fluid flow, water hammer. Heat; temperature measurement, heat transfer. Heat units, evaporation, condensation, humidity, heat effect on metals. Heat calculations, expansion problems (solids, liquids, gases). Air and water properties, atmospheric pressure, syphonage, effect on plumbing materials. Electrolysis and corrosion. Water treatment, pollution, pH factor. Plumbing materials; relative strengths, electrolytic, chemical, bacteriological resistance, uses. |
| 3 | English | Usage and Business Communication | Reading comprehension. Trade terminology, usage. Sentence, paragraph structure. Letter, report writing. Work and parts orders. Interpretation, use of manufacturer’s manuals, job specifications. Oral communication. |
| 4 | Drafting | Basic Drafting and Interpretation | Drafting techniques; scales, symbols, projections. Preparation of elementary trade, related working drawings, dimensioned sketches. Reading, interpretation of floor plans elevations, plumbing and heating installations, specifications, material estimates. |
| 5 | Trade Tools and Procedures | Safety | Safety rules and safe operating procedures. Protective clothing, equipment. First aid. Fire prevention: use and maintenance of fire-fighting equipment. The Occupational Health and Safety Act. The Workers’ Compensation Act. The Building Code Act. The Ontario Water Resources Act (Regulation 736 of the Revised Regulations of Ontario, 1980). Correct lifting methods and use of lifting and hoisting equipment. Safe use of electrical tools, equipment and powder actuated tools. Good housekeeping. |
|  |  | Hand Tools | Selection, care and use of hammers, screwdrivers, wrenches, wood saws, hacksaws, chisels (metal, wood, masonry), files, hand shears, hand drills, pipe cutting, threading, reaming and bending tools. |
|  |  | Power Tools and Equipment | Care and use of portable air and electric drills, grinders, circular and sabre saws. Powder actuated tools. Mechanical and hydraulic tube bending equipment. Pipe cutting, reaming and threading equipment. Pedestal and bench grinders, abrasive cut-off tools. Grinding drill bits, cutting tools. Materials handling devices, scaffolds, ladders, ropes, slings, hoists. |
|  |  | Measuring Devices | Care and use of rules, tapes, builders levels, calipers, micrometers, squares, straight-edges, hand levels and plumb bobs. |
| 6 | Trade Tools and Procedures | Soldering | Soft soldering techniques; uses, solder alloys, fluxes. Heating torches and soldering irons. Preparation, sweating, jigging and tacking. |
|  | Pipe, Tubing and Fittings |  | Tinning dips. Hard soldering; alloys, fluxes, techniques and uses. Cleaning and testing joints. |
|  | (Joining Techniques) | Welding and Brazing | Welding and brazing rods, electrodes, fluxes. Set up, operation and use of oxyacetylene, propane, arc welding equipment for heating, welding, brazing and cutting operations. Protection of flammable materials. Explosion hazards; ventilation, cleaning or purging methods, testing equipment. |
|  |  | Caulking | Caulk joint characteristics. Relevant codes. Joining with hot sulphur, asbestos cement, lead wool. Use of packing irons, oakum. Measuring, cutting, supporting or hanging cast iron pipe. Lead pouring and caulking vertical, horizontal, inverted and submerged joints. Test methods. |
|  |  | Cutting and Reaming | Holding devices. Hand and power pipe cutting and reaming. Lubricants. Length and fitting allowances, cleaning. |
|  |  | Threading Pipe | Thread identification, usage; standard pipe threads. Die setting. Hand and power threading procedures. Pipe vises, collets, chucks. Cutting fluids. Cutting standard, loose, tight, crooked threads. Recutting damaged threads. Burr removal. |
|  |  | Flanged Fittings | Threaded, welded, lap jointed types. Relevant codes. Gasket materials, cutting methods. Expansion loops and joints, swing joints. Temporary pipe slinging, aligning; tightening bolts. Marking and drilling blank flanges. Breaking old joints. |
|  |  | Compression Type Fittings | Flared joint, flared joint and ring, ferrule types. Relevant codes. Gaskets, packings. Flaring ferrous and non-ferrous tube. Joint assembly. |
|  |  | Lead Burning | Good joint design. Relevant codes. Lead burning and supporting techniques in all positions. Adequate ventilation. |
|  |  | Wiping Joints | Lead to lead, lead to brass, and lead to copper wiped joints. Relevant codes. Wiping alloys, cloths, tools; smudge, paste and flux. Preparing and wiping flange, butt, underhand, vertical, rolled joints. Handling, supporting, protecting lead pipes. |
|  |  | Cementing Joints | Pipe or materials used. Relevant codes. Cement mixtures. Raking joints, aligning and supporting. Installing new pipe in existing lines. Test methods. |
|  |  | Non-metallic Joints (Plastic) | Cutting and joining techniques; materials, cleaning and solvent welding compounds, aligning and supporting methods. |
| 7 | Trade Tools and Procedures | Pipe and Tubing | Bending procedures; tubing specifications, allowable radii. Hand and power benders. Filling with sand, lead, resin. Use of spring and stationary mandrels. Bend centers. |
|  | Pipe, Tubing and Fittings (Bending and Forming Techniques) |  | Wire templates. |
|  |  | Bar Stock | Hot and cold bending techniques. Hardening, tempering, annealing, stress relieving. |
|  |  | Forming Lead | Forming tools. Layout, bossing or dressing techniques. Joint preparation. |
| 8 | Trade Tools and Procedures | Pipe and Tubing Selection | Size, lengths, classification; wrought iron, steel, cast iron, copper, lead, brass, vitrified tile, concrete, bituminized fibre, cement asbestos (transite), plastic, stainless steel, glass, dur iron. Relevant codes. Working and bursting pressures; safety and usage factors. |
|  | Pipe, Tubing and Fittings (Installation) |  |  |
|  |  | Threaded Pipe | Standard, extra-heavy, double extra-heavy weight pipe. Butt weld, lapweld, seamless types. Relevant codes. |
|  |  |  | A.S.M.E. standard thread tables. Standard pipe and fitting terminology. Thread compounds. Making up fittings, installation, aligning. |
|  |  | Pipe Hangers and Fasteners | Suspending pipes by; drilling and tapping, expansion shields, toggle bolts, welding, clamps, powder actuated tool and fastener use. Types, use of wood, machine, coach or lag screws. Relevent codes. Hanging or supporting pipe by pipe hooks, extension bar, solid ring hangers; pipe rings, rolls and saddles; U bolts, hanger rods, masonry piers, brackets and clamps. Positioning, aligning, levelling. Insulation allowances. |
|  |  | Tubing and Fittings | Types and classification; underground limitations. Relevant codes. Installing, joining by soldering, brazing, swaging, compression fittings. Fitting allowances. Expansion loops. Vibration reduction. |
|  |  | Valves | Terminology, types, construction, purpose, locating; gate, O.S. and Y valves, sliding stem, globe, check, pressure reducing and relief. Stuffing boxes, gland packing. Relevant codes. Installation procedures; tagging and charting. Valve defects and wear. |
|  |  | Supports | Above or underground installations. Relevant codes. Support layout, spacing, grade. Installation of reinforced concrete, steel, masonry, wood types, on filled ground, virgin soil, chair carriers, suspended from buildings. |
| 9 | Roughing In | Sewers and Drains | Elevation of inverts. Location of stacks, connections. Drain sizes. Relevant codes. Locating, setting, levelling; using dumpy levels and batter boards, bench marks or datum points. |
|  | (Drainwork) |  |  |
|  |  | (Excavating and Trenching) | Relevant codes and regulations. Safety, inspection procedures. Shoring methods; hazards. Ventilation. Dewatering. Piling excavated material. Backfilling. |
|  |  | (Building Sewers) | Location, layout, size, elevation of inverts. Relevant codes. Drainage terminology, materials, jointing compounds. Storm, sanitary, combination drainage systems. Grading, supporting. Location of clean-outs. Testing drains. Repair and servicing; locating, clearing blockages, use of drain plans, rods, power equipment, chemicals. Cutting, inserting fittings. |
|  |  | (Building Traps) | Types, requirements, location, size. Relevant codes. Setting trap level for seal, installing, supporting. Air inlet and cleanouts. Repair and servicing. |
|  |  | (Floor Drains) | Application, location of simple and fixture floor drains. Relevant codes. Strainers; levelling. Grading floors, sealing strainer inlets. Supporting grating. Venting floor drain traps. Connecting floor drains to building drains. Locating cleanouts. Repair and servicing. |
|  |  | (Rainwater Leaders, Area Drains and Subsoil Drainage Tile) | Location. Relevant codes. Sizing storm drains; rainfall charts, sizing tables, drainage areas. Installing subdrainage tile (inside and outside), area drains, rainwater leaders to combination and storm drains. Sediment catchment. |
|  |  | (Oil and Gasoline Interceptors) | Manufactured and concrete (single and multiple chamber) types. Specifications. Relevant codes. Installing oil collecting tanks, vents, flow control fittings. Concrete interceptor construction. Connecting inlet and outlet pipes to interceptors and building drains. Prohibited discharges through interceptor. Repair and servicing; cleaning, sediment removal. Open flame hazards. |
|  |  | (Sewage Pumps) | Sump location, ejector type, elevation, subbasements, subdrains. Relevant codes. Sewage, drainage sumps. Venting. Sewage and drainage pumps, ejectors. Operating intervals. Sizing, installation of sewage sumps, pumps, discharge lines. |
|  |  |  | Controls and safety devices; single and duplex pumps, high water alarms, alternator controls. Electrical connections. Discharge connection to building drains, with or without main traps. Connecting subdrains to sewage tanks; testing methods. Repairing, servicing pumps, screens, impellers, valves, air compressors, motors, controls. |
|  |  | (Backwater Valves) | Purpose and installation of flat and float backwater valves. Locating factors. Combination and separate drainage systems. Relevant codes. Sewage and drainage sumps for backflood protection. |
|  |  |  | Repairing and servicing backwater valves. |
|  |  | (Blow-off Tanks) | Tank size, location. Discharge temperature. Venting. Blowdown, quick opening and closing valves. Connecting water supply to tanks, discharge line to building drains. Cross-connection prevention. Repair and servicing. |
|  |  | Municipal Sewage Systems | Public sewers; intercepting or trunk line, tributary or contributing. Grading. Construction materials and design. Sewage treatment, disposal; activated sludge process, artificial drying, lagoon systems. Final effluent treatment. |
|  |  | (Connecting Building Sewers to Public Sewers) | Location, size of public sewers, depth of inverts. Relevant codes. Sewer connecting procedures; explosion hazards, safety practices. Maintenance responsibility of municipality. |
|  |  | Rural Sewage Systems | Septic systems; single and multiple chamber trickle type, 2 compartment tank with automatic syphon, Imhoff tanks, cesspools. |
|  |  |  | Grease interception, removal. Freezing protection. |
|  |  | (Septic Tanks) | System type; location. Relevant codes. Poured concrete, steel, pre-cast concrete, other tank types. Sizing. Installation of tanks, fittings, cleanouts, venting, elevation. Repair and servicing; cleaning by manual removal, vacuum tanks, sludge pumps. Sludge disposal. Septic action starters, conditioners. |
|  |  | (Disposal Fields) | Disposal bed systems, location. Relevant codes. Percolation tests. Boring test holes. Chart use for required absorption area. Leaching systems; standard trench, seepage pits. Bed layout; trench depth and width, grades, spacing. Installation of weeping tile, aggregate, connections, venting, backfilling. Distribution box construction. Repair and servicing. |
| 10 | Roughing In (Stacks, Wastes and Vents) | Soil and Waste Stacks | Types, characteristics. Locating. Sizing. Prohibited practices. Relevant codes. Joining pipe materials, fittings. Cutting stack holes, notching structural members. Connecting fixtures at stack bases; pressure effects, hazards. Cleanouts. Relief venting stacks in multistorey buildings. Prefabrication, installation of stacks, offsets; plumbing, aligning. Stack testing. Repair and servicing; cutting fittings into stacks. Freezing protection. Thawing stacks, wastes. |
|  |  | (Sleeves and Inserts) | Sleeve filling materials. Fixed, adjustable, continuous inserts. Lining up sleeves, inserts, with chalk line, plumb bob. |
|  |  | (Stack Footings) | Locations, sizes. Relevant codes. Pipe, fitting selection. Connecting stack footings to drain. Grading, installation tools, supporting footings. |
|  |  | (Flashings) | Hub, sleeve, manufactured types; lead, copper, neoprene. Relevant codes. Flashing flat, pitched, shingled, slate, other roofs. Flashing tools. Use of ladders and scaffolds, hand line, ropes and slings. |
|  |  | (Horizontal Branches and Fixture Waste Pipes) | Conventional and Dunham plumbing systems. Relevant codes. Roughing in, fixture dimensions. Sizing horizontal and vertical waste pipes, fixture drains. Grading. Connecting and supporting pipes. Rigging methods. |
|  |  | (Fixture Traps) | Purpose of P traps, drum traps, special designs. Relevant codes. Trap components and seals. Seal loss; causes, effects. Measuring seal. |
|  |  |  | Trap location. Cleanouts. Connecting and supporting traps to fixtures and waste pipes. Repair and servicing. Hazards of chemical use, use of drain rods. |
|  |  | (Grease Traps) | Trap types. Flow control fittings. Relevant codes. Sizing. Locating, installing and venting, traps and flow control fittings, installed as fixture traps or as interceptors. |
|  |  | (Chair Carriers) | Roughing in (concrete and frame); closet, urinal, lavatory and sink, hospital fixture, wall type carriers, vandal proof fittings. Alignment. Thread protection. |
|  |  | (Venting) | System type, vent stack locations, sizes, supports. Relevant codes. Sizing, installing back vents, continuous waste and vents; dual, stack, wet, loop and circuit, relief and yoke type vents. Terminating stacks through walls and roofs. Draining dead end vents. |
|  |  | Rainwater Leaders | Purpose, size, material, location of leaders, hoppers, gutters. Expansion joints. Flashings. Connecting leaders to storm and sanitary drains. Rainwater traps. Cleanouts. |
| 11 | Roughing In | Main Supply | Service connection materials. Relevant codes. Threaded, caulked, capillary solder, flared, wiped solder and mechanical type joints. Supporting service pipes on virgin soil, filled ground, through walls. Installing anchors. |
|  | (Water Supply Systems) | (Service Connection to Municipal Water Main) | Location of main control valves. Drilling, tapping mains under pressure. Installation of curb valve, main supply valves. Meter chamber construction. Protecting plastic service pipes from hot water backup. Testing main supply pipes. |
|  |  | (Water Meters) | Meter Types. Selection and installation. Anti-tampering devices. Electrical grounding. Bypass. Use of test dial. Shop testing with calibrated tubes and tanks. Field testing large meters with portable test meters, orifice plates. Meter protection. |
|  |  | (Cold Water Supply Piping) | Locating, sizing supply system; flow factors, storage tanks, other connections, draining. Relevant codes. Installation procedures. Use of booster pumps. Backflow prevention. Damage and freezing protection. System testing. Noise elimination. Thawing procedures. Repair and maintenance. |
|  |  | (Hot Water Supply Piping) | Heater and storage tank location, heat generation method, size of mains, branches, risers, outlets to fixtures, circulation method, pipe expansion, valve locations. Insulation. Relevant codes. Direct, indirect, instantaneous heaters. Sizing. Boiler connections to converters, circulating pumps. Tank manifolds. Location of main control valves, drain valves, temperature/pressure relief valves, temperature control valves, thermometers, pressure gauges. Tempering valves, expansion loops and fittings. Preventing reverse flow. Installation of noncirculating, gravity, forced circulation systems. Flexible hanger use. Wall and floor sleeves; pipe clearances. Preventing cross connections between potable and nonpotable hot water pipes. Protecting and testing system. Noise elimination. Repair and maintenance. |
|  |  | Rural Water Supply Systems | Supply source. Well types; construction codes, potability tests. Pump characteristics, sizing factors; centrifugal jet (shallow and deep), reciprocal (shallow and deep), submersible, gear, hydraulic ram. Power sources. Gravity and hydro-pneumatic storage tanks. Locating, installing tanks and pumps. Suction line. Pressure and float switches, air volume controls. Pressure gauges, gauge glass, level indicator. Relief valve, overflow pipe, pulsation chamber, drain cocks, sand trap, strainers, filters. Main control, foot and check valves. Power connections. Priming pump. Preventing cross connections, back-siphonage, well contamination. System purging. Repair and servicing shallow well, deep well pumps and systems. |
|  |  | Fire Line Systems | Connections to supply source, hose stations. Type, sizes of pipe and fittings. Size, locations of mains, standpipes, check valves, siamese connection. Relevant codes and underwriters specifications. Standard outlets. Hazards of intervening valves in fire line. Outside booster connection. |
|  |  | (Fire Protection Lines) | Locating, installing, supporting, fire lines, standpipes and outlets, hose storage cabinets, control valves. Hose, valve, nozzle selection. Use of booster pump. Preventing backflow to domestic system. System protection and testing. |
|  |  | (Ring Mains For Exterior Fire Protection) | System type, supply source (single and dual); location of main control valves, check valves, hydrants; valves in hydrant branches, valve chambers, storage tank, reservoir, booster pump. Relevant codes, underwriters specifications. Underground installation factors. Installing branches to hydrants. Use of thrust blocks, saddles or anchors. Frost protection; inside hydrants, frost heave, draining facilities. Indicator valves. Protection against backflow into municipal system. Strategic valve locations. Fire department pumper connections. System testing. Backfilling. Erosion prevention. Purging pipes. Leak detection on buried lines by earphone diaphragm, geophone, valve box locator. Replacing defective section, installing bell joint clamps. Inserting extra branch. Repair and maintenance. |
| 12 | Roughing In (Process Supply Systems) | Special Water Systems (Chilled Water Systems) | Systems for dairies, laboratories, hospitals, industries. Cooling units, components. Heat exchangers. Insulation. Installation of upfeed and downfeed systems, components. Relevant codes. Colour coding system. Test methods. Reclaiming water from cooling towers, spray ponds, condenser coils. |
|  |  | (Distilled Water Systems) | Systems for battery manufacture, drinking fountains, hospitals, drug, beverage manufacturers. Installation of distillation units, components, pipes, fittings. |
|  |  | (Nonpotable Water Supply Systems) | Nonpotable supply source, location of mains, risers, branches, connection to supply. Usage factors. Relevant codes. Installation; isolation from potable systems. Coding. Backflow preventers. |
|  |  | (Lawn Irrigation Systems) | Supply source, system type, pipe, fittings. Relevant codes. Control and zoning. Installation. Backflow preventers. Fertilizer injection. |
|  |  | Liquid Dispensing Systems | Pressure and gravity type systems. Installation. |
|  |  | Special Fluid Process Piping Systems | Installation and relevant codes for fluid transfer in bakeries, dairies, distilleries, food processing plants, breweries, laboratories, refineries, hospitals, industrial plants. |
| 13 | Fixture and Equipment Installation and Servicing (Basic Fittings) | Supply Fittings | Separate faucets, combination supply and waste, combination swing spout, single lever control, sink and shampoo faucets with spray attachments, automatic tempering devices. Relevant codes. C.S.A. and manufacturers standards. Installing exposed and concealed faucets; deck, wall mounted. Roughing in; finished wall clearance, valve bonnet access, air gap. Vacuum breakers. Testing. Preventing damage to finished fittings. Control valves; compression, needle types. Relevant codes. C.S.A., manufacturers standards. Component assembly. Test methods. |
|  |  | Automatic Flush Valves | Diaphragm and plunger types. Hand, seat, foot or push button operated flushing mechanisms; domestic use. Installing, testing, adjusting. Backsyphonage preventers. |
|  |  | Repair and Replacement of Supply Fittings, Valves and Piping | Washer replacement procedures. Removing broken and corroded valve, faucet washer screws. Seat regrinding tools, techniques. Replacing valve gland, faucet bonnet packings, “O” rings, spindle sleeves. Use of lubricants. Basin wrench use. Replacement faucets; adapter wall plates, crows foot washers. Diverter valves; repair, adjusting. Cleaning screens, aerator outlets. Adapting supply to replacement fittings. |
|  |  | Waste Fittings | Installation of mechanical and plug outlets. Strainers. Tail pieces. Stoppage causes; clearing methods. Repair and replacement. |
| 14 | Fixture and Equipment Installation and Servicing (Fixtures) | Bathtubs | Porcelain ware, enamelled cast iron, enamelled press-formed steel bath tubs. Built-in, freestanding, other types. Built-in enclosures. Location, roughing in dimensions, handling. Installation. Protection. Installation of supply fittings, wastes and overflows. Repair and maintenance. |
|  |  | Washbasins | Wall hung, combined wall and floor type, pedestal, slab (vanity) types. Handling precautions. Installation and mounting; Installation of supply and waste fittings. Testing, cleaning. Repair and replacement. |
|  |  | Water-Closets | Floor, wall hung, other types. Construction materials. Syphon jet, reverse trap, washdown, reverse trap without jet, blowout types. Relevant codes. Installation procedures. Gaskets. Tank refill devices; float, flush, control valves, lever mechanisms; testing, adjusting for storage level, flushing action. Pressure noise control. Freezing protection. Temporary trap seals. Seat types, installation. Closet servicing, repair, replacement. |
|  |  | Bidets | Characteristics. Installation procedures: relevant codes. Roughing in dimensions. Connecting to supply. Backflow preventers. Adjusting control valves. Repair and maintenance. |
|  |  | Showers | Shower compartments; built-up, prefabricated, multiple types. Relevant codes. Installing prefabricated compartments. Forming, installing pans for built-up types. Shower drains, strainers. Sizing and locating traps. Supply fittings; combination, single, remote control. Roughing in dimensions. Sizing. Installation of exposed and concealed systems. Automatic tempering devices. Therapeutical uses. Test spouts. Adjustable heads; hard water effects. Shower repair and maintenance. |
|  |  | Sinks | Single and multiple compartment, combined sink and drainboard. Relevant codes. Materials, finishes. |
|  |  |  | Installation of counter top, wall hung, freestanding, cabinet types. Tail pieces, strainers, traps, faucets (single loose flange, combination, single handle control, preset temperature control). Supply fittings, spray hose, aerator, control valves. Repair and maintenance. |
|  |  | Laundry Tubs | Single outlet, two and three compartment types. Construction materials; handling. Roughing in dimensions. Relevant codes. Installing tubs, supply, strainers, traps, waste and vent. |
|  |  | Urinals | Wall hung, stall, pedestal, trough, integral trap types. Syphon storage tanks, flush valves, self closing stops. Roughing in dimensions. Relevant codes. Locating, installing, adjusting urinals, flushing devices, strainers. Connecting to wall outlet (exposed and integral traps), floor outlet, waste and supply. Provisions of cleanouts. Repair and maintenance. |
|  |  | Drinking Fountains | Wall hung, built-in recess, pedestal, basin attachment, electrically cooled, other types. Roughing in dimensions. Relevant codes. Mounting, connecting to supply and waste (integral and exposed traps). Adjusting flow control valves. Fountain repair and maintenance. |
| 15 | Fixture and Equipment Installation and Servicing | Water Conditioners (Softeners) | Capacity factors. Conditioning agents. Hardness tests. Installing, connecting to supply, fixtures. Bypass loop and valves (internal, supply line); manual and automatic. Alarm meter. Regenerating by; direct salting, brine tank system. |
|  | (Water Conditioning Equipment) | (Filters — Private Systems) | Types, characteristics: filtration principles. Water tests. Locating, installing. Preventing filter bed channelling. Servicing procedures. |
|  |  | (Chlorinators — Private Systems) | Individual, combined filter chlorinators. Water tests. Chlorination principles. Installation methods. Adjusting chlorinating solution feed rate. |
| 16 | Fixture and Equipment Installation and Servicing | Dishwashers and Laundry Washing Machines | Domestic, commercial, institutional dishwashers; electric, hydraulic types. Gyrator, drum laundry washing machines. Relevant plumbing, electrical codes. Installation, levelling; use of vibration shock absorbers. |
|  | (Equipment and Appliances) | Domestic Garbage Disposal Units | Types, characteristics. Relevant plumbing, electrical codes. Effect of raw wastes on sewage systems. Installation; connecting to waste, sink outlet, power source. Servicing and repair. |
|  |  | Hot Water Storage Tanks | Direct, indirect heater; electric, gas, oil integral heating units. Relevant electrical, plumbing, gas or oil burner codes. Cathode rod, tank linings, insulation. Locating, installing tanks, drain valve, pressure and temperature relief valves. Preventing syphonage, airlocks. Installing check valve on hot water supply. Dip tubes. Avoiding overheating tanks. Vent flue for self-contained oil and gas heated tanks. Inspection, maintenance. |
|  |  | Swimming Pools | Deck level gutter types. Recirculating systems. Relevant codes. Installation of vacuum fittings, cleaning equipment, skimmer fittings, baffles, inlet fittings, main drain, deck drains, sight glass, recirculating and filtered lines, balancing tank. |
|  |  | (Filters) | Back wash, cartridge, combined filter chlorinator types. Location, capacities. Relevant codes. Installing and servicing filters. |
|  |  | (Recirculating Pumps) | Characteristics, location: calculating size, capacity. Available voltage. Strainer types. Installing, levelling pumps. |
|  |  | (Heating Units) | Oil, gas, electric, other pool heaters. Relevant plumbing, electrical, oil, gas burner codes. Sizing, installation, controls. |
|  |  | Ornamental Pools and Aquariums | Characteristics of installations. Relevant codes. |
|  |  | Commercial and Institutional Equipment | Characteristics of kitchen equipment; potato peelers, coffee urns, refrigerators, water dispensers and coolers, steam kettles and tables, bain maries. Hospital, laboratory equipment; service sinks, flushing rim sinks, laboratory tables, elongated toilet bowls (bed pan hose, spray attachments), sterilizing equipment, anaesthetic gas lines, oxygen lines and equipment, suction lines, water, compressed air lines, physiotherapy equipment. Size, location, installation. Control valves, supply piping, waste and traps for primary and secondary waste traps, waste cleanouts, grease interceptors. Equipment and fixture maintenance. |

R.R.O. 1990, Reg. 1073, Sched. 1.

Schedule 2
PLUMBER

Work Experience Training

| Item | Column 1 | Column 2 | Column 3 |
| --- | --- | --- | --- |
|  | Course | Subject | Work Instruction and Experience |
| 1 | Trade Tools and Procedures (As detailed in Schedule 1) | General | Safety rules and removal of all hazards. The Occupational Health and Safety Act. The Workers’ Compensation Act. The Building Code Act. The Ontario Water Resources Act (Regulation 736 of the Revised Regulations of Ontario, 1980). Care and use of hand and power tools and equipment, measuring devices. Joining pipe, tubing, fittings by; soft and hard soldering, brazing, welding, caulking; pipe cutting, reaming, threading; flanged fittings, compression fittings, lead burning, wiping joints, cementing joints, non-metalic plastic joints. Bending and forming pipe and tubing, bar stock, lead sheet. |
| 2 | Trade Tools and Procedures Pipe, Tubing and Fittings (Installation) | Selection and Installation | Familiarization with relevant codes, regulations and specifications. Selection and installation of pipe, tubing, threaded pipe, valves, pipe hangers and fasteners. Support layout, spacing, grade for above or underground installations according to pipe, soil and building requirements. |
| 3 | Roughing In (Drainwork) | Sewers and Drains | Familiarization with relevant codes, regulations, specifications. Establishing invert elevations, locating, setting, levelling. Installing building sewers, traps, floor drains. Connecting rain-water leaders, area drains, subsoil drainage tile to building drains. Installing oil and gasoline interceptors, sewage pumps, backwater valves. Connecting blow-off tanks to building drains. Municipal sewage systems; familiarization with types and characteristics, grading, construction, design, pipe materials, sewage treatment and disposal methods. Connecting building sewers to public sewers. Rural sewage systems; familiarization with types and characteristics, septic process, disposal bed systems, components. Leaching systems. Construction and installation of septic tanks, disposal beds. Testing, repair and maintenance of sewers, drains, sewage systems. |
| 4 | Roughing In (Stacks, Wastes and Vents) | Stacks, Wastes and Vents | Familiarization with relevant codes, regulations, specifications. Laying out, installing sleeves and inserts, stack footings, soil and waste stacks, terminal flashings. Installing horizontal branches, fixture wastes and traps, grease traps, chair carriers. Installing venting systems. Installing rainwater leaders. Testing, repair and maintenance of stacks, wastes, vents. |
| 5 | Roughing In (Water Supply Systems) | General | Familiarization with relevant codes, regulations, specifications. Making service connections to municipal water mains. Installing and testing water meters. Installing cold water supply piping and domestic hot water supply piping systems. Rural supply systems; familiarization with supply sources, well types, pump types, storage tanks, power sources. Installing rural supply systems. Fire line systems; installing fire protection lines. Installing ring mains for exterior fire protection. Testing, repair and maintenance of water supply systems. |
| 6 | Rouging In (Process Supply Systems) | Special Water Systems | Familiarization with relevant codes, regulations, specifications. Installing chilled water and distilled water systems, nonpotable water systems, lawn irrigation systems. Installing special fluid process piping systems. Testing, repair and maintenance of special water systems. |
| 7 | Fixture and Equipment Installation and Servicing (Basic Fittings) | Supply, Fittings, Valves, Piping, Wastes and Traps | Familiarization with relevant codes, regulations and specifications. Installing supply fittings, control valves, automatic flush valves. Repairing or replacing water supply fittings, valves, supply piping. Installing waste fittings, strainers, plug outlets, fixture and equipment traps. Clearing stoppage, replacing wastes and traps. |
| 8 | Fixture and Equipment Installation and Servicing (Fixtures) | Fixtures and Equipment | Familiarization with relevant codes, regulations, specifications. Installing bathtubs, washbasins, water-closet combinations, bidets, showers, sinks, laundry tubs, urinals. Installing drinking fountains. Maintenance, repair and replacement of fixtures and equipment. |
| 9 | Fixture and Equipment Installation and Servicing (Water Conditioning Equipment) | Water Conditioners | Familiarization with relevant codes, regulations, specifications. Installing water softeners. Installing filters and chlorinators in private water systems. Testing, repair and maintenance of water conditioning systems. |
| 10 | Fixture and Equipment Installation and Servicing (Equipment and Appliances) | Domestic, Commercial, Institutional, Hospital and Laboratory Equipment | Familiarization with relevant codes, regulations, specifications. Installing dishwashers, laundry washing machines, domestic garbage disposal units, hot water storage tanks. Installing piping systems, filters, recirculating pumps, heating units for swimming pools. Installing supply, recirculating, waste systems for ornamental pools, aquariums. Installing and servicing commercial and institutional kitchen equipment; potato peelers, coffee urns, refrigerators, water dispensers and coolers, steam kettles and tables, bain maries. |
|  |  |  | Installing and servicing hospital, laboratory equipment; service sinks, flushing rim sinks, laboratory tables, elongated toilet bowls (bed pan hose, spray attachments), sterilizing equipment, anaesthetic gas lines, oxygen lines and equipment, suction lines, water, compressed air lines, physiotherapy equipment. |

R.R.O. 1990, Reg. 1073, Sched. 2.

Back to top